## Data
Resources |  | [10] Page 35 | [10] Page 35 | = E3*1000 | = F3/$F$9 | = F3/(365*24) | [10] Page 35 | = G3/H3 | Table 1 | Table 2 | [8, 20, 21, 22, 23] | [19] Table 2, Page 3 | = N3*1000 | = (O3*H3)/M3 | Approximation | [17] Approximated
Decision Variables | X, Y | Xi, Yi | Electicity Generated (MWh (thousands)) | Current Electicity Generated (MWh) | % of Electicity Generated | If at 100% capacity | Generation Capacity (MW) | % of Capacity Used | CO2 Emissions (kg/MWh) | LCOE (US$/MWh) | Number of Plants | Capital Cost (US$/kW) | Plant Opening Cost (US$/MW) | Total Plant Cost | Plant Closing Cost (11% constant) | Baseload
Opening Plant Xi | XA | Solar | 4325 | 4325000 | 2.004% | 493.7215 | 1973 | 25.02% | 53 | 36 | 23 | 1313 | 1313000 | 112632565.2174 | 12389582.1739 | 0
| XB | Wind | 7387 | 7387000 | 3.424% | 843.2648 | 2987 | 28.23% | 12 | 38 | 21 | 1471 | 1471000 | 209232238.0952 | 23015546.1905 | 0
| XC | Hydo-electric | 2870 | 2870000 | 1.33% | 327.6256 | 1339 | 24.47% | 9 | 93 | 13 | 5316 | 5316000 | 547548000 | 60230280 | 0.75
| XD | Nuclear | 75328 | 75328000 | 34.91% | 8599.0868 | 8907 | 96.54% | 6 | 167 | 11 | 6041 | 6041000 | 4891562454.5455 | 538071870 | 1
| XE | Coal | 48181 | 48181000 | 22.33% | 5500.1142 | 15652 | 35.14% | 924 | 108 | 11 | 3676 | 3676000 | 5230613818.1818 | 575367520 | 0.65
| XF | Natural gas | 77679 | 77679000 | 36% | 8867.4658 | 19788 | 44.81% | 458 | 60 | 40 | 1084 | 1084000 | 536254800 | 58988028 | 0.25
|  |  | 215770 | 215770000 | 100% | 24631.2785 | 50646 |  |  |  | 119
Closing Plant Yi | YA | Solar | 4325 | 4325000 | 2.004% | 493.7215 | 1973 | 25.02% | 53 | 36 | 23 | 1313 | 1313000 | 112632565.2174 | 12389582.1739 | 0
| YB | Wind | 7387 | 7387000 | 3.424% | 843.2648 | 2987 | 28.23% | 12 | 38 | 21 | 1471 | 1471000 | 209232238.0952 | 23015546.1905 | 0
| YC | Hydo-electric | 2870 | 2870000 | 1.33% | 327.6256 | 1339 | 24.47% | 9 | 93 | 13 | 5316 | 5316000 | 547548000 | 60230280 | 0.75
| YD | Nuclear | 75328 | 75328000 | 34.91% | 8599.0868 | 8907 | 96.54% | 6 | 167 | 11 | 6041 | 6041000 | 4891562454.5455 | 538071870 | 1
| YE | Coal | 48181 | 48181000 | 22.33% | 5500.1142 | 15652 | 35.14% | 924 | 108 | 11 | 3676 | 3676000 | 5230613818.1818 | 575367520 | 0.65
| YF | Natural gas | 77679 | 77679000 | 36% | 8867.4658 | 19788 | 44.81% | 458 | 60 | 40 | 1084 | 1084000 | 536254800 | 58988028 | 0.25
|  |  | 215770 | 215770000 | 100% | 24631.2785 | 50646 |  |  |  | 119
Table 1: [11] Figure 37, page 49
Lifecycle GFG emissions, in g CO2 eq. per kWh
Energy Type | Minimum | Maximum | Average
Solar: poly-Si, ground-mounded | 23 | 82 | 53
Wind: onshore | 7.8 | 16 | 12
Hydro-electric: 360 MW | 6.1 | 11 | 9
Nuclear: Average | 4.9 | 6.3 | 6
Coal: PC, without CCS | 912 | 1095 | 1004
Coal: IGCC, without CCS | 753 | 912 | 833
Coal: SC, without CCS | 850 | 1021 | 936
Natural Gas: NGCC, without CCS | 403 | 513 | 458
Table 2: [13] Levelized Cost of Energy Comparison - Sensitivty to Cost of Capital ; [14] Projected Costs of Generating Electricity
Energy Type | Lazard (2021) | NEA (2020)
Solar: PV (utility, fixed-axis | 36
Wind | 38
Hydo-electric |  | 93
Nuclear | 167
Coal | 108
Natural gas | 60
Notes
For number of Duke's plants, did not consider the total capcacity (MW)
Not all energy types are included: Oil and fuel cells
Solar: Use only Poly-Si because it is the majority of solar plants
Hyrdo: 360 MW instead of 660 MW because of Duke's actual plants
LCOE: Lifecycle cost (capital, operating, etc.), combined cost
Without CCS (carbon dioxide capture and storage)
Resources
[8] chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://s201.q4cdn.com/583395453/files/doc_downloads/esg-key-documents/sustainable-financing-framework.pdf
[10] (2021) Duke Energy Corporation, 2021 ESG Report (Advancing our Clean Energy Transformation)
[11] United Nations Economic Comission for Europe, Life Cycle Assessment of Electricity Generation Options
[12 ](2020) Nuclear Energy Agency, Projected Costs of Generating Electricity
[13] (2021) Lazard's Levelized Cost of Energy Analysis (PDF)
[17] https://www.nrel.gov/docs/fy17osti/67645.pdf
[19] (February 2020) U.S. Energy Information Administration, Capital Cost and Performance Characteristic Estimates for Utility Scale Electric Power Generating Technologies
[20] https://nuclear.duke-energy.com/about
[21] https://www.duke-energy.com/community/lakes/hydroelectric-relicensing/catawba
[22] https://www.duke-energy.com/our-company/about-us/new-generation/renewable-energy
[23] https://investors.duke-energy.com/financials/annual-reports/default.aspx

## Minimize CO2e
MAIN CONSTAINTS
|  |  |  | Type | Formulas | Lower Bound | Upper Bound | Comments
[5 empty] | 4038.147 | 0 | 2157700 | Delta has a thresold of 0 to 0.01 (fixed)
[5 empty] | 545968.75 | -1282179 | 1282179 | Delta has a thresold of +/- 0.01
|  |  |  | Capital Cost Budget | 62969252633.517 | 50000000000 | 63000000000 | Meet min and max requirements | [6 empty] | CO2 Emissions (kg) | Exsisting CO2 Emissions (kg) | Change in CO2 Emissions
|  |  |  | Integer | All 'Number of Plants' (N12:N23) need to be an integer | [9 empty] | -60641222448.1159 | 80891893000 | -74.97% | Reduced emissions by 74.97%
Objective Function (CO2e) | -60641222448.1159 | -60641222.45 | tons
Minimize
Energy Source | Decision Variables | X, Y | Xi, Yi | CO2e Emissions (kg/MWh) | LCOE (US$/MWh) | Plant Cost | Current Electicity Generated (MWh) | Electicity Generated / Plant (MWh) | Current Number of Plants | Baseload | Number of Plants | Multiplicity Factor | Total Electricity Generated (MWh) | Final Scenario | LCOE | Exsisting LCOE | Change in LCOE
Clean Renewable | Opening Plant Xi | XA | Solar | 52.5 | 36 | 112632565.2174 | 4325000 | 188043.4783 |  | 0 | 2 | 0 | 376086.9565 | 2 | 13539130.4348 | 155700000 | 8.696%
Clean Renewable |  | XB | Wind | 11.9 | 38 | 209232238.0952 | 7387000 | 351761.9048 |  | 0 | 124 | 0 | 43618476.1905 | 124 | 1657502095.2381 | 280706000 | 590.5%
Clean Renewable |  | XC | Hydo-electric | 8.55 | 93 | 547548000 | 2870000 | 220769.2308 |  | 0.75 | 0 | 0 | 0 | 0 | 0 | 266910000 | 0%
Clean Renewable |  | XD | Nulear | 5.6 | 167 | 4891562454.5455 | 75328000 | 6848000 |  | 1 | 6 | 0 | 41088000 | 6 | 6861696000 | 12579776000 | 54.55%
Fossil Fuel |  | XE | Coal | 923.83 | 108 | 5230613818.1818 | 48181000 | 4380090.9091 |  | 0.65 | 0 | 0 | 0 | 0 | 0 | 5203548000 | 0%
Fossil Fuel |  | XF | Natural Gas | 458 | 60 | 536254800 | 77679000 | 1941975 |  | 0.25 | 0 | 0 | 0 | 0 | 0 | 4660740000 | 0%
Clean Renewable | Closing Plant Yi | YA | Solar | 52.5 | 36 | 12389582.1739 | 4325000 | 188043.4783 | 23 | 0 | 0 |  | 0 | 0 | 0 | 0
Clean Renewable |  | YB | Wind | 11.9 | 38 | 23015546.1905 | 7387000 | 351761.9048 | 21 | 0 | 0 |  | 0 | 0 | 0 | 0
Clean Renewable |  | YC | Hydo-electric | 8.55 | 93 | 60230280 | 2870000 | 220769.2308 | 13 | 0.75 | 0 |  | 0 | 0 | 0 | 0
Clean Renewable |  | YD | Nulear | 5.6 | 167 | 538071870 | 75328000 | 6848000 | 11 | 1 | 0 |  | 0 | 0 | 0 | 0
Fossil Fuel |  | YE | Coal | 923.83 | 108 | 575367520 | 48181000 | 4380090.9091 | 11 | 0.65 | 11 |  | 48181000 | 11 | 5203548000 | 0
Fossil Fuel |  | YF | Natural Gas | 458 | 60 | 58988028 | 77679000 | 1941975 | 40 | 0.25 | 19 |  | 36897525 | 19 | 2213851500 | 0
[15 empty] | 1115337725.6729 | 23147380000 | 4.818% | Increased LCOE cost by 4.82%
Baseload
∆ Baseload
Electriciy
Generated
∆ Electriciy
Generated

## Minimize LCOE Cost
MAIN CONSTAINTS
|  |  |  | Type | Constraints | Lower Bound | Upper Bound | Comments
[5 empty] | 124494.5515 | 0 | 2157700 | Delta has a thresold of 0 to 0.01 (fixed)
[5 empty] | -1238026.3549 | -1282179 | 1282179 | Delta has a thresold of +/- 0.01
|  |  |  | Capital Cost Budget | 56547169091.0111 | 50000000000 | 63000000000 | Meet min and max requirements | [6 empty] | LCOE | Exsisting LCOE | Change in LCOE
|  |  |  | Integer | All 'Number of Plants' (N12:N23) need to be an integer | [9 empty] | -748457809.4007 | 23147380000 | -3.233% | Decreased LCOE cost by 3.23%
Objective Function (LCOE) | -748457809.4007
Minimize
Energy Source | Decision Variables | X, Y | Xi, Yi | CO2e Emissions (kg/MWh) | LCOE (US$/MWh) | Plant Cost | Current Electicity Generated (MWh) | Electicity Generated / Plant (MWh) | Current Number of Plants | Baseload | Number of Plants | Multiplicity Factor | Total Electricity Generated (MWh) | Final Scenario | CO2 Emissions (kg) | Exsisting CO2 Emissions (kg) | Change in CO2 Emissions
Clean Renewable | Opening Plant Xi | XA | Solar | 53 | 36 | 112632565.2174 | 4325000 | 188043.4783 |  | 0 | 0 | 0 | 0 | 0 | 0 | 229225000
Clean Renewable |  | XB | Wind | 12 | 38 | 209232238.0952 | 7387000 | 351761.9048 |  | 0 | 0 | 0 | 0 | 0 | 0 | 88644000
Clean Renewable |  | XC | Hydo-electric | 9 | 93 | 547548000 | 2870000 | 220769.2308 |  | 0.75 | 12 | 0 | 2649230.7692 | 12 | 23843076.9231 | 25830000
Clean Renewable |  | XD | Nulear | 6 | 167 | 4891562454.5455 | 75328000 | 6848000 |  | 1 | 0 | 0 | 0 | 0 | 0 | 451968000
Fossil Fuel |  | XE | Coal | 924 | 108 | 5230613818.1818 | 48181000 | 4380090.9091 |  | 0.65 | 9 | 0 | 39420818.1818 | 9 | 36424836000 | 44519244000
Fossil Fuel |  | XF | Natural Gas | 458 | 60 | 536254800 | 77679000 | 1941975 |  | 0.25 | 0 | 0 | 0 | 0 | 0 | 35576982000
Clean Renewable | Closing Plant Yi | YA | Solar | 53 | 36 | 12389582.1739 | 4325000 | 188043.4783 | 23 | 0 | 9 |  | 1692391.3043 | 9 | 89696739.1304
Clean Renewable |  | YB | Wind | 12 | 38 | 23015546.1905 | 7387000 | 351761.9048 | 21 | 0 | 20 |  | 7035238.0952 | 20 | 84422857.1429
Clean Renewable |  | YC | Hydo-electric | 9 | 93 | 60230280 | 2870000 | 220769.2308 | 13 | 0.75 | 0 |  | 0 | 0 | 0
Clean Renewable |  | YD | Nulear | 6 | 167 | 538071870 | 75328000 | 6848000 | 11 | 1 | 4 |  | 27392000 | 4 | 164352000
Fossil Fuel |  | YE | Coal | 924 | 108 | 575367520 | 48181000 | 4380090.9091 | 11 | 0.65 | 0 |  | 0 | 0 | 0
Fossil Fuel |  | YF | Natural Gas | 458 | 60 | 58988028 | 77679000 | 1941975 | 40 | 0.25 | 3 |  | 5825925 | 3 | 2668273650
[15 empty] | 33441933830.6498 | 80891893000 | 41.34% | Increased emissions by 41.34%
Electriciy
Generated
∆ Electriciy
Generated
Baseload
∆ Baseload

## Compromise
|  |  |  | MAIN CONSTAINTS | [5 empty] | ADDITIONAL CONSTRAINT
|  |  |  | Type | Constraints | Lower Bound | Upper Bound | Comments |  | Type | Constraints | Lower Bound | Upper Bound
[5 empty] | 1467.6121 | 0 | 2157700 | Delta has a thresold of 0 to 0.01 (fixed) |  |  | -51915202008.6001 | -64713514400 | -40445946500
[5 empty] | -927829.8951 | -1282179 | 1282179 | Delta has a thresold of +/- 0.01
|  |  |  | Capital Cost Budget | 57575555061.3815 | 50000000000 | 63000000000 | Meet min and max requirements | [6 empty] | LCOE | Exsisting LCOE | Change in LCOE
|  |  |  | Integer | All 'Number of Plants' (N12:N23) need to be an integer | [9 empty] | 738886152.0508 | 23147380000 | 3.192% | Increased LCOE cost by 3.19%
[15 empty] | -3.23 | 3.19 | -101.3%
Objective Function (LCOE) | 738886152.0508
|  |  |  | Minimize | Minimize
Energy Source | Decision Variables | X, Y | Xi, Yi | CO2e Emissions (kg/MWh) | LCOE (US$/MWh) | Plant Cost | Current Electicity Generated (MWh) | Electicity Generated / Plant (MWh) | Current Number of Plants | Baseload | Number of Plants | Multiplicity Factor | Total Electricity Generated (MWh) | Final Scenario | CO2 Emissions (kg) | Exsisting CO2 Emissions (kg) | Change in CO2 Emissions
Clean Renewable | Opening Plant Xi | XA | Solar | 53 | 36 | 112632565.2174 | 4325000 | 188043.4783 |  | 0 | 203 | 0 | 38172826.087 | 203 | 2023159782.6087 | 229225000
Clean Renewable |  | XB | Wind | 12 | 38 | 209232238.0952 | 7387000 | 351761.9048 |  | 0 | 16 | 0 | 5628190.4762 | 16 | 67538285.7143 | 88644000
Clean Renewable |  | XC | Hydo-electric | 9 | 93 | 547548000 | 2870000 | 220769.2308 |  | 0.75 | 1 | 0 | 220769.2308 | 1 | 1986923.0769 | 25830000
Clean Renewable |  | XD | Nulear | 6 | 167 | 4891562454.5455 | 75328000 | 6848000 |  | 1 | 5 | 0 | 34240000 | 5 | 205440000 | 451968000
Fossil Fuel |  | XE | Coal | 924 | 108 | 5230613818.1818 | 48181000 | 4380090.9091 |  | 0.65 | 0 | 0 | 0 | 0 | 0 | 44519244000
Fossil Fuel |  | XF | Natural Gas | 458 | 60 | 536254800 | 77679000 | 1941975 |  | 0.25 | 0 | 0 | 0 | 0 | 0 | 35576982000
Clean Renewable | Closing Plant Yi | YA | Solar | 53 | 36 | 12389582.1739 | 4325000 | 188043.4783 | 23 | 0 | 0 |  | 0 | 0 | 0
Clean Renewable |  | YB | Wind | 12 | 38 | 23015546.1905 | 7387000 | 351761.9048 | 21 | 0 | 0 |  | 0 | 0 | 0
Clean Renewable |  | YC | Hydo-electric | 9 | 93 | 60230280 | 2870000 | 220769.2308 | 13 | 0.75 | 0 |  | 0 | 0 | 0
Clean Renewable |  | YD | Nulear | 6 | 167 | 538071870 | 75328000 | 6848000 | 11 | 1 | 0 |  | 0 | 0 | 0
Fossil Fuel |  | YE | Coal | 924 | 108 | 575367520 | 48181000 | 4380090.9091 | 11 | 0.65 | 9 |  | 39420818.1818 | 9 | 36424836000
Fossil Fuel |  | YF | Natural Gas | 458 | 60 | 58988028 | 77679000 | 1941975 | 40 | 0.25 | 20 |  | 38839500 | 20 | 17788491000
[15 empty] | -51915202008.6001 | 80891893000 | -64.18% | Decreased emissions by 64.18%
Electriciy
Generated
∆ Electriciy
Generated
Baseload
∆ Baseload
Electriciy
Generated
∆ Electriciy
Generated
Baseload
∆ Baseload
Electriciy
Generated
∆ Electriciy
Generated
Baseload
∆ Baseload
CO2e
∆ CO2e